## How to fill
Solar91 O&M — Preventive Maintenance Task Plan
Fill the "PM Tasks" sheet: one row = one task. Say which plant(s) each task is for, or leave Plant blank to assign it later. Columns A–G are the basics; H–K are optional and can stay empty.
Column | What to enter
Equipment type | Pick from the dropdown (Inverter, Transformer, VCB Panel, OLTC(RTCC), WMS…). If not listed, pick "Other".
Plant(s) | Which plant this task is for, written exactly as in the portal. For several plants, separate with commas: Kerli, Nagaur. Write All plants for every plant. Leave blank to assign the plant later.
Task – what to do | Short name of the job. Example: "Clean inverter cooling fans and filters".
How to do it | Steps / checklist in plain words. Example: "1. Isolate. 2. Open cover. 3. Clean filter. 4. Record temperature."
Frequency – when | Pick how often: Daily, Weekly, Monthly, Quarterly, Half-yearly or Annual.
Start date | First date the task is due. Type as DD-MM-YYYY or YYYY-MM-DD. Next dates are calculated from Frequency.
Assignee(s) | Name of the O&M team member. For more than one person, separate with commas: Ravi Kumar, Anita Sharma.
Safety needed | Pick from the dropdown: — (none), PTW required, LOTO required, or PTW + LOTO required.
Est. time (hours) | Approximate hours the task takes, as a number such as 2 or 0.5.
No. of units (optional) | How many units of this equipment the plant has (e.g. 10 inverters). Leave blank to use the plant's saved Unit configuration or the Equipment Register.
Units per day (optional) | Maximum units that can be maintained in one day (e.g. 2). Units are spread over consecutive days: 10 units at 2/day = 5 days. Leave blank to use the plant's saved Unit configuration.
Remarks (optional) | What is going on right now, in plain words (e.g. 'Spare filters ordered; fans at INV-04 noisy'). Added to the log of every task the row creates.
How rows become tasks | Each row creates one task for every plant listed and every assignee listed — or, when units are known, one task per unit for each plant, spread across days by Units per day. One assignee looks after all units of a plant.
Legend
Yellow cells | Cells for you to fill in on the "PM Tasks" sheet.
Grey row | Row 2 is an EXAMPLE of the format. Overwrite or delete it — rows starting with "EXAMPLE" are ignored on import.
Need ideas? | See the "Task ideas" sheet for common checks for each equipment type.

## PM Tasks
Equipment type | Plant(s) | Task – what to do | Frequency – when | Assignee(s) | Safety needed | Est. time (hours) | How to do it | Start date | No. of units | Units per day | Remarks
Inverter | Kerli, Nagaur | EXAMPLE – Clean inverter cooling fans and filters | Monthly | Ravi Kumar, Anita Sharma | PTW + LOTO required | 2 | 1. Isolate. 2. Open cover. 3. Clean filter. 4. Record temperature. |  | 10 | 2 | Spare filters ordered; fans at INV-04 noisy

## Task ideas
Equipment type | Common checks (pick, copy or adapt into the PM Tasks sheet)
Inverter | Fan / filter cleaning • Alarm & fault-history review • DC / AC terminal torque check • Insulation resistance reading • Firmware / communication health
Piling and Foundation | Foundation inspection • Pile condition check • Settlement / alignment check • Crack / damage inspection • Corrective action review
WMS | Sensor cleaning • Irradiance / temperature sensor validation • Communication check • Calibration comparison • Mounting / cable inspection
ACCB Panel | Breaker operation check • Busbar / terminal thermal scan • Protection & metering check • Cable gland / lug inspection • Panel cleaning
VCB Panel | Breaker mechanical operation • Contact / terminal inspection • Relay & trip-circuit test • Spring charging mechanism • Interlock / indication check
MCCB | Visual / thermal inspection • Terminal tightening • Trip and manual operation test • Rating / label verification • Panel cleaning
Transformer | Oil level / leakage inspection • BDV / moisture / DGA test as scheduled • Bushing & breather inspection • Protection / temperature checks • Earthing & terminal tightening
Aux. Transformer | Oil / enclosure inspection • Bushing & cable check • Voltage / current reading • Protection check • Earthing continuity
OLTC(RTCC) | Tap-changer position / indication check • Auto-manual mode operation • Control wiring and relay inspection • Communication / SCADA signal check • Panel cleaning
RMS | Communication availability • Data-gap / timestamp review • Router / modem / network check • Power / UPS backup check • Portal value validation
Earthing | Earth-pit condition • Resistance measurement • Connection tightening • Corrosion check • Watering / treatment where applicable
ABT meters | Meter reading validation • RTC / time sync • Seal / wiring inspection • Communication availability • Energy-data reconciliation
LA | Visual condition • Counter reading • Connection tightening • Earth continuity • Post-lightning inspection
CCTV | Camera feed check • Lens / housing cleaning • NVR / DVR recording & storage check • UPS / network check • Coverage / night-vision verification
VCB - GSS side | Breaker mechanical operation • Contact / terminal inspection • Relay & trip-circuit test • Spring charging mechanism • Interlock / indication check
4 Pole | Structure and foundation inspection • Insulator / jumper inspection • Earthing connection check • Hardware tightening • Hotspot / corona inspection
Transmission line | Line patrol • Conductor / sag inspection • Insulator / jumper inspection • Tower / pole / foundation inspection • Vegetation & ROW clearance
Boundary wall | Wall / fencing patrol • Crack / settlement inspection • Gate / access check • Breach / damage repair review • Drainage / erosion observation
Water pipe line | Leak / blockage inspection • Pump / valve operation • Pressure / flow observation • Joint / support inspection • Repair / flushing requirement
Vegetation | Grass / weed cutting • Module shading check • Fire-risk / dry biomass removal • ROW / access clearing • Waste disposal
Street Light | Fixture operation • Timer / controller check • Cable / pole inspection • Earthing check • Night operation verification
BIKE | Bike Not Starting • Accident / Body Damage • Functional check • Engine Problem • Corrective action review
Other | Define task-specific checklist • Capture measurements / readings • Attach photo / video evidence • Record remarks / anomalies • Escalate problem to Issue if required

## Lists
Equipment types | Frequency | Safety
Inverter | Daily | —
Piling and Foundation | Weekly | PTW required
WMS | Monthly | LOTO required
ACCB Panel | Quarterly | PTW + LOTO required
VCB Panel | Half-yearly
MCCB | Annual
Transformer
Aux. Transformer
OLTC(RTCC)
RMS
Earthing
ABT meters
LA
CCTV
VCB - GSS side
4 Pole
Transmission line
Boundary wall
Water pipe line
Vegetation
Street Light
BIKE
Other