## How to fill
Solar91 O&M — GSS side Preventive Maintenance plan
Only GSS side equipment goes in this file. Plant side equipment is rejected on upload — use the Plant side template for it. One row = one PM job.
Column / topic | What to enter
Order of work | The portal does the GSS side equipment in this order: 1. VCB (VCB - GSS side) — cycle days 25–26 2. 4 Pole (4 Pole - GSS side) — cycle days 27–28 3. Transmission line (Transmission line - GSS side) — cycle days 29–30 The GSS side starts after the plant side work (Inverter … Transmission line) at the plant.
Date | There is no date column. Choose the cycle start date (day 1) in the portal when you upload: Preventive Maintenance → Import CSV / Excel. Every equipment's dates follow from the order above.
No overlap | If earlier work at a plant takes longer than its days (for example 20 inverters at 2 a day = 10 days), the next equipment starts the day after it finishes and everything after it moves too. The portal shows the final dates before anything is saved.
Equipment type | Pick from the dropdown. It lists only GSS side equipment.
Plant(s) | Plant name or code exactly as in the portal; several plants separated by commas, or All plants. Rows without a plant are saved as PM job templates only (no tasks).
Task - what to do | Short name of the job. Keep Plant side and GSS side task names different.
Frequency - when | Monthly for the 30-day cycle (each unit comes back on the same cycle day next month).
Assignee(s) | O&M team member(s) with the Assignee role, separated by commas.
Safety needed | — (none), PTW required, LOTO required, or PTW + LOTO required.
Est. time (hours) | Approximate hours per unit, as a number.
How to do it | Steps / checklist in plain words.
No. of units | Optional. How many units the plant has. Blank = the plant's Unit configuration or Equipment Register. ACCB Panel (ACCB-1 + ACCB-2), Aux. Transformer, ACDB and Miscellaneous are always one job per plant.
Units per day | Optional. Most units done in one day. Blank = spread the units over the equipment's cycle days.
Remarks | Optional. Added to the log of every task the row creates. For Miscellaneous, list the items the job covers (pre-filled: Street Light, ERT — remove or add items).
Order in PM cycle | For information only; the portal ignores this column.

## PM Tasks
Equipment type | Plant(s) | Task - what to do | Frequency - when | Assignee(s) | Safety needed | Est. time (hours) | How to do it | No. of units | Units per day | Remarks | Order in PM cycle (info only)
VCB - GSS side |  | GSS VCB PM | Monthly |  | PTW + LOTO required | 3 | 1. Breaker mechanical operation. 2. Contacts / terminals. 3. Relay & trip-circuit test. 4. Interlocks. |  |  |  | GSS side step 1 · cycle days 25–26
4 Pole - GSS side |  | GSS 4 Pole structure PM | Monthly |  | PTW required | 2 | 1. Structure & foundation. 2. Insulators / jumpers. 3. Earthing connection. 4. Hardware tightening. |  |  |  | GSS side step 2 · cycle days 27–28
Transmission line - GSS side |  | GSS transmission line patrol & PM | Monthly |  | PTW required | 4 | 1. Line patrol. 2. Conductor / sag. 3. Insulators / jumpers. 4. Poles / towers. 5. Vegetation & ROW. |  |  |  | GSS side step 3 · cycle days 29–30

## Lists
Equipment types | Frequency | Safety
VCB - GSS side | Daily | —
4 Pole - GSS side | Weekly | PTW required
Transmission line - GSS side | Monthly | LOTO required
| Quarterly | PTW + LOTO required
Half-yearly
Annual

## Task ideas
Equipment type | Common checks
VCB - GSS side | Breaker mechanical operation • Contact / terminal inspection • Relay & trip-circuit test • Spring charging mechanism • Interlock / indication check
4 Pole - GSS side | Structure and foundation inspection • Insulator / jumper inspection • Earthing connection check • Hardware tightening • Hotspot / corona inspection
Transmission line - GSS side | Line patrol • Conductor / sag inspection • Insulator / jumper inspection • Tower / pole / foundation inspection • Vegetation & ROW clearance